## Tab1
Block Type | 96-Well 0.2-mL Block
Calibration Background is expired | No
Calibration Background performed on | 02-01-2019
Calibration Pure Dye ABY is expired | No
Calibration Pure Dye ABY performed on | 02-01-2019
Calibration Pure Dye CY5 is expired | No
Calibration Pure Dye CY5 performed on | 02-01-2019
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 02-01-2019
Calibration Pure Dye JUN is expired | No
Calibration Pure Dye JUN performed on | 02-01-2019
Calibration Pure Dye MUSTANG PURPLE is expired | No
Calibration Pure Dye MUSTANG PURPLE performed on | 02-01-2019
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 02-01-2019
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 02-01-2019
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 02-01-2019
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 02-01-2019
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 02-01-2019
Calibration ROI is expired | No
Calibration ROI performed on | 02-01-2019
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 02-01-2019
Chemistry | SYBR_GREEN
Date Created | 24-04-2019 10:45:54 CEST
Experiment File Name | D:\Users\INSTR-ADMIN\experiments\20190411_PROT-138_Plate3_Dx_FT.eds
Experiment Name | 20190411_PROT-138_Plate3_Dx
Experiment Run End Time | 12-04-2019 08:55:50 CEST
Experiment Type | Standard Curve
Instrument Name | 2735217080033
Instrument Serial Number | 2735217080033
Instrument Type | QuantStudio™ 5 Dx System
Passive Reference | ROX
Post-read Stage/Step
Pre-read Stage/Step
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage where Melt Analysis is performed | Stage3
Stage/ Cycle where Ct Analysis is performed | Stage2, Step2
Well | Well Position | Sample | Target Name | Tm | Melt Peak Height
1 | A1 | Positive Control | ACTB | 74.6149 | 68514.8516
2 | A2 | Positive Control | RPLP0 | 71.8901 | 92734.2109
3 | A3 | Positive Control | MLANA | 75.1103 | 74533.2422
4 | A4 | Positive Control | ITGB3 | 78.0827 | 58337.1797
5 | A5 | Positive Control | PLAT | 78.0827 | 50356.6953
6 | A6 | Positive Control | IL8 | 78.5781 | 62589.9297
7 | A7 | Positive Control | GDF15 | 83.7799 | 65145.625
8 | A8 | Positive Control | LOXL4 | 81.0551 | 54512.1758
9 | A9 | Positive Control | TGFBR1 | 76.1011 | 69215.2578
10 | A10 | Positive Control | SERPINE2 | 71.6424 | 50904.4219
13 | B1 | Negative Control | ACTB | 76.1011 | 11765.5625
14 | B2 | Negative Control | RPLP0 | 82.2937 | 806.21
15 | B3 | Negative Control | MLANA | 82.046 | 743.3727
15 | B3 | Negative Control | MLANA | 75.358 | 1288.4724
15 | B3 | Negative Control | MLANA | 69.6608 | 1543.0162
16 | B4 | Negative Control | ITGB3 | 90.4678 | 944.7481
17 | B5 | Negative Control | PLAT | 89.9724 | 387.7122
18 | B6 | Negative Control | IL8 | 74.8626 | 1879.5526
19 | B7 | Negative Control | GDF15 | 88.9816 | 379.481
20 | B8 | Negative Control | LOXL4 | 80.312 | 7006.4678
21 | B9 | Negative Control | TGFBR1 | 89.477 | 533.8129
22 | B10 | Negative Control | SERPINE2 | 74.8626 | 1018.9247
22 | B10 | Negative Control | SERPINE2 | 61.982 | 1593.5894
22 | B10 | Negative Control | SERPINE2 | 83.7799 | 559.7968
25 | C1 | S2172 | ACTB | 74.6149 | 65734.1406
26 | C2 | S2172 | RPLP0 | 71.8901 | 78218.4922
27 | C3 | S2172 | MLANA | 75.1103 | 66991.1328
28 | C4 | S2172 | ITGB3 | 77.835 | 53699.3828
29 | C5 | S2172 | PLAT | 77.835 | 43775.2148
30 | C6 | S2172 | IL8 | 78.0827 | 53000.0273
31 | C7 | S2172 | GDF15 | 83.2845 | 46735.8984
32 | C8 | S2172 | LOXL4 | 80.5597 | 33585.957
33 | C9 | S2172 | TGFBR1 | 76.1011 | 55261.5156
34 | C10 | S2172 | SERPINE2 | 71.6424 | 40315.7344
37 | D1 | S2234 | ACTB | 74.3672 | 59863.582
38 | D2 | S2234 | RPLP0 | 71.6424 | 85832.0547
39 | D3 | S2234 | MLANA | 75.1103 | 73771
40 | D4 | S2234 | ITGB3 | 77.5873 | 49700.1719
41 | D5 | S2234 | PLAT | 77.5873 | 36513.7109
42 | D6 | S2234 | IL8 | 77.5873 | 39228.6172
43 | D7 | S2234 | GDF15 | 83.5322 | 49816.1992
44 | D8 | S2234 | LOXL4 | 80.8074 | 44823.4219
45 | D9 | S2234 | TGFBR1 | 76.1011 | 55021.5391
46 | D10 | S2234 | SERPINE2 | 71.6424 | 40770.2305
49 | E1 | S2272 | ACTB | 74.3672 | 68065.1328
50 | E2 | S2272 | RPLP0 | 71.6424 | 88197.1016
51 | E3 | S2272 | MLANA | 75.1103 | 79784.6953
52 | E4 | S2272 | ITGB3 | 77.835 | 57630.9336
53 | E5 | S2272 | PLAT | 77.835 | 43396.7578
54 | E6 | S2272 | IL8 | 77.835 | 50249.207
55 | E7 | S2272 | GDF15 | 83.2845 | 48795.9805
56 | E8 | S2272 | LOXL4 | 80.312 | 23122.5547
57 | E9 | S2272 | TGFBR1 | 76.1011 | 58624.2734
58 | E10 | S2272 | SERPINE2 | 71.8901 | 46497.7852
61 | F1 | S2329 | ACTB | 74.6149 | 70619.3047
62 | F2 | S2329 | RPLP0 | 71.6424 | 88075.125
63 | F3 | S2329 | MLANA | 75.1103 | 76577.9766
64 | F4 | S2329 | ITGB3 | 77.835 | 54418.4219
65 | F5 | S2329 | PLAT | 77.835 | 44922.5625
66 | F6 | S2329 | IL8 | 78.0827 | 56629.5938
67 | F7 | S2329 | GDF15 | 83.5322 | 56346.4336
68 | F8 | S2329 | LOXL4 | 80.0643 | 19407.2852
69 | F9 | S2329 | TGFBR1 | 76.1011 | 60981.9023
70 | F10 | S2329 | SERPINE2 | 71.8901 | 52861.375
73 | G1 | S2333 | ACTB | 74.3672 | 74871.6641
74 | G2 | S2333 | RPLP0 | 71.6424 | 86947.2422
75 | G3 | S2333 | MLANA | 75.1103 | 77067.2812
76 | G4 | S2333 | ITGB3 | 77.835 | 56386.4922
77 | G5 | S2333 | PLAT | 77.835 | 44741.8594
78 | G6 | S2333 | IL8 | 77.5873 | 45469.2539
79 | G7 | S2333 | GDF15 | 83.2845 | 51045.5703
80 | G8 | S2333 | LOXL4 | 80.5597 | 40862.3242
81 | G9 | S2333 | TGFBR1 | 76.1011 | 57425.8164
82 | G10 | S2333 | SERPINE2 | 71.8901 | 50734.3828
85 | H1 | S2355 | ACTB | 74.3672 | 74566
86 | H2 | S2355 | RPLP0 | 71.3947 | 88220.8203
87 | H3 | S2355 | MLANA | 75.1103 | 80256.7344
88 | H4 | S2355 | ITGB3 | 77.835 | 54924.9766
89 | H5 | S2355 | PLAT | 77.835 | 45104.9062
90 | H6 | S2355 | IL8 | 78.0827 | 53850.2812
91 | H7 | S2355 | GDF15 | 83.2845 | 50778.4062
92 | H8 | S2355 | LOXL4 | 80.5597 | 37698.0273
93 | H9 | S2355 | TGFBR1 | 76.1011 | 57746.3711
94 | H10 | S2355 | SERPINE2 | 71.8901 | 45322.8555